## Lists
Region | Climatic Area |  | Daily Global Horizontal Irradiation Data in kWh/m2 (LCEC)
Aabaydat | Western Mid-Mountain |  |  | January | February | March | April | May | June | July | August | September | October | November | December
aabboudiye | Coastal |  | Coastal | 2.3876 | 3.1958 | 4.8981 | 6.012 | 6.837 | 7.192 | 7.0104 | 6.3437 | 5.3746 | 3.8735 | 2.7572 | 2.2873 | 58.1692
AAbdelli | Coastal |  | Western Mid-Mountain | 2.4718 | 3.1659 | 4.7348 | 5.9918 | 6.8341 | 7.1927 | 7.0328 | 6.3374 | 5.362 | 3.8518 | 2.6695 | 2.1624 | 57.807
Aabdine | Western Mid-Mountain |  | Inland | 2.5036 | 3.2081 | 4.7777 | 6.0183 | 6.8332 | 7.2097 | 7.024 | 6.3532 | 5.3891 | 3.8969 | 2.7707 | 2.2873 | 58.2718
Aabey | Coastal |  | High Mountain | 2.5222 | 3.2822 | 4.8612 | 5.9795 | 6.8376 | 7.2113 | 7.0375 | 6.4052 | 5.4661 | 3.8284 | 2.7654 | 2.2412 | 58.4378
Aabrine | Coastal
Aachach | Coastal |  | Monthly Global Horizontal Irradiation Data in kWh/m2 (LCEC)
Aachqout | Western Mid-Mountain |  |  | January | February | March | April | May | June | July | August | September | October | November | December
Aadous | Inland |  | Coastal | 74.0156 | 89.4824 | 151.8411 | 180.36 | 211.947 | 215.76 | 217.3224 | 196.6547 | 161.238 | 120.0785 | 82.716 | 70.9063 | 1772.322
aain Aalaq | Western Mid-Mountain |  | Western Mid-Mountain | 76.6258 | 88.6452 | 146.7788 | 179.754 | 211.8571 | 215.781 | 218.0168 | 196.4594 | 160.86 | 119.4058 | 80.085 | 67.0344 | 1761.3033
Aain Aanoub | Coastal |  | Inland | 77.6116 | 89.8268 | 148.1087 | 180.549 | 211.8292 | 216.291 | 217.744 | 196.9492 | 161.673 | 120.8039 | 83.121 | 70.9063 | 1775.4137
Aain Aar | Coastal |  | High Mountain | 78.1882 | 91.9016 | 150.6972 | 179.385 | 211.9656 | 216.339 | 218.1625 | 198.5612 | 163.983 | 118.6804 | 82.962 | 69.4772 | 1780.3029
Aain Aarab Rachaiya | Inland
Aain Aata | Inland |  | Monthly Global Irradiation Data in kWh/m2 at 30° Tilt (PVSYST)
aain abeaal | Western Mid-Mountain |  |  | January | February | March | April | May | June | July | August | September | October | November | December
Aain Baalbek | Inland |  | Coastal | 109.4 | 116.2 | 180.1 | 190.9 | 203 | 198.1 | 203.4 | 199.6 | 184.8 | 153.4 | 115.2 | 105.8 | 1959.9
Aain Bourday | Inland |  | Western Mid-Mountain | 111.5 | 114.6 | 174 | 189.7 | 201 | 196.4 | 201.8 | 199.2 | 181.9 | 155.5 | 114 | 101.3 | 1940.9
Aain Drafil | Coastal |  | Inland | 113.5 | 122.2 | 182.8 | 188.8 | 201.3 | 195.9 | 202 | 199.8 | 186.5 | 151.1 | 116 | 107 | 1966.9
Aain Ej-Jaouz Baalbek | High Mountain |  | High Mountain | 115.5 | 122 | 176.8 | 189.1 | 199.8 | 196.5 | 201.1 | 198.7 | 187.7 | 152.1 | 119 | 106.6 | 1964.9
aain el delbeh jbeil | Western Mid-Mountain
aain el ghouaybe | High Mountain
Aain El Halazoun | Western Mid-Mountain
aain el jdideh aaley | Western Mid-Mountain
Aain El-Barnaya | High Mountain
A'ain El-Mir | Coastal
Aain El-Qach | Western Mid-Mountain
Aain Er-Rihane | Coastal
aain erroumaneh aaley | Western Mid-Mountain
Aain Es-Sindiane | Western Mid-Mountain
Aain Es-Siyaa Chadoura | High Mountain
Aain es-Sofsaf El-Matn | Western Mid-Mountain
Aain Et-Teffaha | Western Mid-Mountain
aain ettineh-md | Western Mid-Mountain
Aain Ez-Zeit | Coastal
aain ezzeitouneh | Western Mid-Mountain
Aain Jarfa | Western Mid-Mountain
Aain Jrain | Western Mid-Mountain
Aain Kfaa | Coastal
Aain Ksour | Western Mid-Mountain
Aain Mouaffaq | Western Mid-Mountain
Aain Qinia | Western Mid-Mountain
Aain Rouha | Inland
Aain Tinta | Coastal
Aain Traz | Western Mid-Mountain
Aain Yaaqoub | Western Mid-Mountain
Aain Zhalta | Western Mid-Mountain
Aainbal | Western Mid-Mountain
Aaiyat | Western Mid-Mountain
Aajaltoun | Western Mid-Mountain
Aakkar El-Aatiqa | Western Mid-Mountain
Aalali | Western Mid-Mountain
Aaley Bsatine | Coastal
Aalita | Coastal
Aalma | Coastal
Aalmane Ech-Chouf | Coastal
Aamaret Aakkar | Coastal
Aamaret Chalhoub | Coastal
Aamaret El-Baykat | Coastal
Aamayer | Western Mid-Mountain
Aamchit | Coastal
Aammiq Ech-Chouf | Western Mid-Mountain
Aamriyet Aakkar | Coastal
Aandqet | Western Mid-Mountain
Aanout | Western Mid-Mountain
Aaouaainat Aakkar | Western Mid-Mountain
Aaqabet Rachaya | Inland
Aaqoura | High Mountain
Aarab El-Lahib | High Mountain
Aaraiya | Coastal
Aaramoun Aaley | Coastal
Aaramoun Kesrouane | Western Mid-Mountain
Aaramta | Western Mid-Mountain
Aarasta Ehden | High Mountain
Aaray | Western Mid-Mountain
Aarbet Qozhaiya | Western Mid-Mountain
Aardat | Coastal
AAridet Cheikh Zennad | Coastal
Aarjis | Coastal
Aarqa | Coastal
Aarsal | High Mountain
Aartiz | Coastal
Aasaymout | Coastal
Aassoun | Western Mid-Mountain
aatchaneh | Western Mid-Mountain
Aathrine | Western Mid-Mountain
Aayha | High Mountain
Aaymar | Western Mid-Mountain
Aaynab | Western Mid-Mountain
Aaynata Baalbek | High Mountain
Aayoun Aakkar | Coastal
Aayoun El-Ghizlane | Coastal
Aayoun El-Matn | Western Mid-Mountain
Aayta El-Foukhar Nabi Safa | Inland
Aaytat | Coastal
Aazour | Western Mid-Mountain
Aazqai | Coastal
Aazra ouel Aazr | Western Mid-Mountain
Abou Mizane | Western Mid-Mountain
Abou Qamha | Western Mid-Mountain
Adma Oua Dafine | Coastal
Adonis Jbayl | Western Mid-Mountain
Afqa Jbayl | High Mountain
ain el kharroubeh | Western Mid-Mountain
Aintoura El-Matn | High Mountain
Aintoura Kesrouane | Coastal
Aintourine | Western Mid-Mountain
Al-Labouat | Inland
Almate El-Chemaliat | Western Mid-Mountain
Almate El-Jenoubiat | Western Mid-Mountain
Al-Qa Jouar Mekie | Inland
Anane | Coastal
Antelias | Coastal
Arde | Coastal
Arsoun | Western Mid-Mountain
Asnoun | Coastal
Assia | Western Mid-Mountain
Ayto | Western Mid-Mountain
Baabda | Coastal
Baabdat | Western Mid-Mountain
Baalbek | Inland
Baalchmay | Western Mid-Mountain
baanoub | Coastal
Baaouerta | Coastal
Baaqline | Western Mid-Mountain
Baassir | Coastal
Baba | Western Mid-Mountain
Baghdadi | Coastal
Bajjaje | Inland
Bakhaaoun | Coastal
Bakka | High Mountain
Bakkifac Rachaya | Inland
balde | Coastal
Balloune | Coastal
Bane | High Mountain
Baouchariat | Coastal
Barcha | Coastal
bardeh | Western Mid-Mountain
Barja | Coastal
Barqa | High Mountain
Basbina | Coastal
Baskinta | High Mountain
Batha | Coastal
Batroun | Coastal
Bayssour Aaley | Western Mid-Mountain
Bayssour Jezzine | Coastal
Bayzoun | Western Mid-Mountain
Bazaaoun | High Mountain
Bchamoun | Coastal
Bchannine | Coastal
bcharre | High Mountain
Bcheaali | Western Mid-Mountain
Bchille Jbayl | Coastal
Bchtfine | Western Mid-Mountain
Bdadoun | Coastal
Bebnine | Coastal
Bechehhara | Western Mid-Mountain
Bechnnata | High Mountain
Bechouat | Inland
Bechtoudar | Western Mid-Mountain
Bedghan Oua Ouadi Bedg Bedghan Oua Ouadi Bedg | Western Mid-Mountain
Bednayel Baalbak | Inland
Behdaydat | Coastal
Behouaita | Western Mid-Mountain
Behouara | Western Mid-Mountain
Beino | Coastal
Beirut | Coastal
Beit Ayoub | Western Mid-Mountain
Beit Chabab | Coastal
Beit Chama | Inland
Beit Chlala | Western Mid-Mountain
Beit Ech-Chaar | Coastal
Beit Ed-Dine | Western Mid-Mountain
Beit El-Faqs | Western Mid-Mountain
Beit El-Haouch | Coastal
Beit El-Kekko | Coastal
Beit Habbaq | Coastal
Beit Haouik | Western Mid-Mountain
beit jaalouk | Western Mid-Mountain
Beit Kassab | Western Mid-Mountain
Beit Lahia | Inland
Beit Mellat | Coastal
Beit Menzer Sir | Western Mid-Mountain
Beit Meri | Coastal
Beit Younes | Western Mid-Mountain
Beit Zoud | Coastal
Bekhaaz | Coastal
Benouati Ech-Chouf | Coastal
Benouati Jezzine | Western Mid-Mountain
Beqaata Aachqout | Western Mid-Mountain
Beqaata Kanaan | Western Mid-Mountain
Berbara Aakkar | Coastal
Berbara Jbayl | Coastal
Berhalioun | Western Mid-Mountain
Berqayel | Coastal
Bezbina | Western Mid-Mountain
Bhairet Toula | Western Mid-Mountain
Bhamdoun Ed-Dayaa | Western Mid-Mountain
Bhamdoun El-Mhatta | Western Mid-Mountain
Bhannine | Western Mid-Mountain
Bhersaf | Western Mid-Mountain
bherzoq | Coastal
Bichtlida | Western Mid-Mountain
Bijdarfil | Coastal
Billa | Western Mid-Mountain
Binnay | Western Mid-Mountain
Bint Jbeil | Coastal
Bintaael | Coastal
Biret Aakkar | Western Mid-Mountain
Biret Ech-Chouf | Western Mid-Mountain
Biret Rachaiya | Inland
Birket Hjoula | Western Mid-Mountain
Bisri | Western Mid-Mountain
Bizhel | Coastal
Bkassine | Western Mid-Mountain
Bkechtine Ouel Mcheiaa | Coastal
Bkhichtay | Western Mid-Mountain
Bkifa Ech-Chouf | Coastal
Blaouza | Western Mid-Mountain
Blat Jbeil | Coastal
Blaybel | Coastal
Bmahray Hrajel | High Mountain
Bmakine | Western Mid-Mountain
Bmaryam | Western Mid-Mountain
Bmehrayn | Coastal
Bnabil | Western Mid-Mountain
Bnechaai | Coastal
Boqsmaiya | Coastal
Borj Aakkar | Coastal
bou zrideh | Western Mid-Mountain
Bouar | Coastal
Bouday | Inland
Boulhos | Western Mid-Mountain
Bourghos | Western Mid-Mountain
bourj el yahoudieh | Coastal
Bourj El-Brajneh | Coastal
Bourj El-Ftouh | Coastal
Bourj Hammoud | Coastal
Bourjein | Coastal
Boussit | Coastal
Boutchay | Coastal
Bqaa Kafra Bqaa Sefrine | High Mountain
Bqaiaa Ech-Chouf | Coastal
Bqaq Ed-Dine | Coastal
Bqarsouna | Western Mid-Mountain
Bqennaya | Coastal
Bqerqacha | High Mountain
Bqerzla | Coastal
Brayj Jbayl | Coastal
Breissat | High Mountain
Brih | Western Mid-Mountain
Brital | Inland
Broummana El-Matn | Western Mid-Mountain
Bsaba Baabda | Coastal
Bsaba Ech-Chouf | Western Mid-Mountain
Bsalim | Coastal
Bsatine Aakkar | Coastal
Bsebaal | Coastal
Bsifrine | Western Mid-Mountain
Bsous | Coastal
Btalloun | Western Mid-Mountain
Btedaai | Inland
Btedine El-Leqch | Western Mid-Mountain
Bteezanieh | Western Mid-Mountain
Btegh... Daraiya Ech-Chouf | Western Mid-Mountain
Btekhnay | Western Mid-Mountain
Btermaz | Coastal
Btibyat | Western Mid-Mountain
Byaqout | Coastal
Bzal | Coastal
Bzebdine | Western Mid-Mountain
bzina | Western Mid-Mountain
Bzoummar | Western Mid-Mountain
chaaibe | High Mountain
Chaat | Inland
Chahtoul | Western Mid-Mountain
Chamate | Coastal
Chammis Ech-Chouf | Coastal
Chanay | Western Mid-Mountain
Chane | Coastal
Chaqdouf | Coastal
Charbila | Coastal
Charbine El-Hermel | High Mountain
Chartoun | Western Mid-Mountain
chbaniyeh | Western Mid-Mountain
Chebaa | Western Mid-Mountain
Cheikh Mohammad | Coastal
Cheikh Taba | Coastal
Cheikh Taba Es-Sahl | Coastal
Cheikh Zennad | Coastal
Cheikhlar | Western Mid-Mountain
Chhim | Coastal
Chibtine | Coastal
Chikhane | Coastal
Chikka | Coastal
Chimlane | Western Mid-Mountain
Chir mairine | Coastal
Chiyah | Coastal
Chlifa Hermel | Inland
Chmaarine | Coastal
Chmeisset Baabda | Western Mid-Mountain
Chmistar | Inland
Chmout | Coastal
Chnanaair | Coastal
Chouaifat Amroussyat | Coastal
Chouaifat Qobbat | Coastal
Choualiq Jezzine | Coastal
Chouaya Hasbaiya | Western Mid-Mountain
Choueifat El-Oumara | Coastal
Choueir | Western Mid-Mountain
Chouit | Coastal
Chourit | Western Mid-Mountain
Chrine | Western Mid-Mountain
Daael | Coastal
daghle | Coastal
Dahr Abi Yaghi | Coastal
Dahr Ech-Chouf | Coastal
Dahr Ed-Deir | Coastal
Dahr El-Ahmar | Inland
Dahr Es-Souane El-Matn | Western Mid-Mountain
Dahr Laissine | Coastal
Dalhoun | Coastal
Damour | Coastal
Danha | Coastal
Daqqoun | Coastal
Dar El-Ouassaa | Inland
Daraaoun | Coastal
Daraiya Kesrouane | Western Mid-Mountain
Daraiya Zgharta | Coastal
Daraya El-Batroun | Coastal
Darine | Coastal
Dayret Nahr El-Kabir | Western Mid-Mountain
dbaye | Coastal
Debaael | Coastal
Debbiyeh | Coastal
Debbiyeh | Western Mid-Mountain
Deir Aammar | Coastal
Deir Baba | Coastal
Deir Baqlouch | Coastal
Deir Billa | Western Mid-Mountain
Deir Chamra | Western Mid-Mountain
Deir Dalloum | Coastal
Deir Dourit | Coastal
Deir El Qattine | Western Mid-Mountain
Deir El-Aachayer | High Mountain
Deir El-Ahmar | Inland
Deir El-harf | Western Mid-Mountain
Deir El-Moukhalles | Coastal
Deir El-Qamar | Western Mid-Mountain
Deir Jannine | Coastal
Deir Jdeide | Coastal
Deir Kfifane | Coastal
Deir Khouna | Western Mid-Mountain
deir koucheh | Western Mid-Mountain
Deir Mar Aabda el Mcha | Coastal
Deir Mar Maroun Baalbek | Inland
Deir mar Roukoz | Coastal
deir mar youhanna | Western Mid-Mountain
Deir Mar Youhanna | Western Mid-Mountain
Deir Mar Youssef Jrabt | Coastal
Deir Nbouh | Coastal
Deir Qoubel | Coastal
Deir Tamich | Coastal
Dekouanet | Coastal
dellafeh | Western Mid-Mountain
Dfoun | Western Mid-Mountain
dibbabiye | Coastal
Dik El-Mehdi | Coastal
Dimane | High Mountain
Dinbou | Coastal
dlaybeh | Western Mid-Mountain
Dlebta | Western Mid-Mountain
Dmit | Coastal
douair aadouiye | Coastal
Douair El-Roummane | Western Mid-Mountain
Douma | Western Mid-Mountain
Douq | Western Mid-Mountain
Douris | Inland
Edde El-Batroun | Coastal
edde jbail | Coastal
Eghbeh | Western Mid-Mountain
El Halaliyeh haret hamze | Western Mid-Mountain
El Jiyeh | Coastal
El-Abadiyeh | Western Mid-Mountain
El-Armeh Beddaoui | Coastal
El-Dechouniyeh | Coastal
El-Erbaniyeh | Western Mid-Mountain
El-Ghabbatieh | Western Mid-Mountain
El-Ghozaili | Coastal
El-Hazmieh | Western Mid-Mountain
El-Jahliyeh | Coastal
El-Jleiliyeh | Western Mid-Mountain
El-Kamatiyeh | Western Mid-Mountain
El-Ksaibeh | Western Mid-Mountain
El-Maaniyeh | Coastal
El-Mradiyeh | Western Mid-Mountain
El-Rejmeh | Western Mid-Mountain
El-Samkanieh | Western Mid-Mountain
El-Wardaniyeh | Coastal
El-Werhaniyeh | Western Mid-Mountain
Falougha | High Mountain
Fanar | Coastal
Faouarat Jaafar | Western Mid-Mountain
Faouka | Coastal
Faraya | High Mountain
Fardis Hasbaiya | Western Mid-Mountain
Fatre | Coastal
Faytroun | Western Mid-Mountain
Fekehe | Inland
Ferhet | Western Mid-Mountain
Fghal | Coastal
Fnaydeq | Western Mid-Mountain
Frat | Western Mid-Mountain
Fraudis Ech-Chouf | Western Mid-Mountain
Fraydes Aakkar | Coastal
frayke | Coastal
Ftahat El-Batroun | Coastal
Furn Ech-Chebbak | Coastal
Ghabat | High Mountain
GHabet Jaafar | Coastal
Ghaboune | Western Mid-Mountain
Ghalboun | Coastal
gharifeh Hasrout | Western Mid-Mountain
Gharzouz | Coastal
Ghazir | Coastal
Ghidras | Coastal
Ghidras | Western Mid-Mountain
Ghofrine | Coastal
Ghosta | Western Mid-Mountain
Ghouma | Coastal
Habchit | Coastal
Habil | Western Mid-Mountain
Hadath Baalbek | Inland
Hadath Beyrouth | Coastal
hadath ej jebbeh | High Mountain
Hadchit | High Mountain
Hadtoun | Western Mid-Mountain
Hailan | Coastal
Hakour | Coastal
Halate | Coastal
Halba | Coastal
Halbata | High Mountain
Ham | High Mountain
Hamat Litige | Coastal
Hammana | High Mountain
haouch El-Dehab | Inland
Haouch En-Nabi Chite | Inland
Haouch Er-Rafqa | Inland
Haouch Snaid | Inland
Haouchab | Coastal
Haouche Barada | Inland
Haouche El-Tal Safyat | Inland
Haour Taala | Inland
Haqel | Western Mid-Mountain
haql el aazimeh | Western Mid-Mountain
Harabta | High Mountain
Harbouna | Coastal
Hardine | Western Mid-Mountain
Haret El-Ballane | Coastal
Haret Es-Sit | Coastal
Haret Hreik | Coastal
Harf Es-Sayad | Coastal
Harf Es-Sayad | Coastal
Harf Jezzine | Western Mid-Mountain
Harharaya | Western Mid-Mountain
Hariq Zgharta | Coastal
Harissa Kesrouane | Coastal
Hasbaiya El-Matn | Western Mid-Mountain
Hasrayel | Coastal
Hasroun | High Mountain
hassaniye | Coastal
Hawara | Western Mid-Mountain
hawsh qinnabe | Inland
Hayata | Western Mid-Mountain
Hayssa | Coastal
Haytla | Coastal
haytoule | Coastal
Haytoura | Western Mid-Mountain
Hayzouq | Coastal
Hbaline | Coastal
Hboub | Coastal
Hbous | Coastal
Hdeine | High Mountain
hebbarieh | Western Mid-Mountain
Hedd | Coastal
Helouet Rachaiya | High Mountain
Helta | Coastal
Hema Er-Rehban | High Mountain
Hema Mar Maroun Aannaya | High Mountain
Heri | Coastal
Hermel Jbab | High Mountain
Hidab | Western Mid-Mountain
Himlaya | Western Mid-Mountain
Hizzine | Inland
Hjoula | Western Mid-Mountain
Hmaiss Aakkar | Coastal
Hnaider | Western Mid-Mountain
Hokr Ed-Dahri | Coastal
Hokr Etti | Coastal
Hokr Jouret Srar | Coastal
Homeira | Coastal
Homs Oua Hama | Western Mid-Mountain
homsiyeh | Western Mid-Mountain
Houaich | Coastal
Houakir | Coastal
Houmal | Coastal
Hraiqis Litige | Coastal
Hsarat | Coastal
Hsayn | Western Mid-Mountain
Hsoun | Western Mid-Mountain
Iaal | Coastal
Iaat | Inland
Idbil | Coastal
Ijbaa Masrah | Western Mid-Mountain
Ijdabra | Coastal
Ilat | Coastal
Izal | Western Mid-Mountain
Jaaita | Coastal
jaayel ghbaleh | Western Mid-Mountain
Jabal Toura | Western Mid-Mountain
Jadra | Coastal
Jaj | Western Mid-Mountain
Jall Ed-Did | Coastal
Janine | Coastal
janneh | Western Mid-Mountain
Jarjour | Western Mid-Mountain
Jayroun | Western Mid-Mountain
Jbayl | Coastal
Jdaidet El-Matn | Coastal
Jdaidet Ghazir | Western Mid-Mountain
Jdeidet El-Qaitaa | Coastal
Jdidet Ej-Joumeh | Coastal
Jebaa | Inland
Jebla | Coastal
Jebrayel | Coastal
Jensnaya | Coastal
Jenta | Inland
Jeoddayel Jbayl | Coastal
Jernaya | Coastal
Jisr El Qadi | Western Mid-Mountain
jlisse | Coastal
Jmeiliyeh | Coastal
Jouar El-Haouz | Western Mid-Mountain
Jouar El-Matn | Western Mid-Mountain
Joun | Coastal
Jounie Ghadir | Coastal
Jounie Haret Sakhr | Coastal
jounieh kaslik | Coastal
Jouret Arsoun Bikfaya | Western Mid-Mountain
Jouret Bedrane | Western Mid-Mountain
Jouret El-Ballout | Coastal
Jouret El-Qattine | Western Mid-Mountain
Jouret E-Tourmos | Western Mid-Mountain
Jouret Mhad | Western Mid-Mountain
Jrabta El-Batroun | Coastal
Jrane El-Batroun | Coastal
kafr | Coastal
Kafr | Coastal
kafra ain saade | Coastal
Kahf El-Malloul | Western Mid-Mountain
kahlounieh | Western Mid-Mountain
Kaoukaba Bou Arab | Inland
Kaoukaba Hasbaiya | Western Mid-Mountain
Karkha | Coastal
Karm Aasfour | Coastal
Karm El-Mohr | Western Mid-Mountain
karm sadde | Coastal
Kesrouane | Coastal
Ketermaya | Coastal
Keyfoun | Western Mid-Mountain
Kfar Aabida | Coastal
Kfar Aamay | Western Mid-Mountain
Kfar Baal | Western Mid-Mountain
Kfar Bibnine Jezzine | Western Mid-Mountain
Kfar Chellane | Coastal
Kfar Chima | Coastal
Kfar Chouba | Western Mid-Mountain
Kfar Dabach | Inland
Kfar Dane | Inland
Kfar Denis | Inland
Kfar Dibiane | Western Mid-Mountain
Kfar Falous | Coastal
Kfar Faqoud | Coastal
Kfar Habou | Coastal
Kfar Hamal | Western Mid-Mountain
Kfar Hamam | Western Mid-Mountain
Kfar Harra | Coastal
Kfar Hatna | Coastal
Kfar Hay | Coastal
Kfar hay | Western Mid-Mountain
Kfar Hilda | Western Mid-Mountain
Kfar Him | Coastal
kfar houne | Western Mid-Mountain
Kfar Jarra | Coastal
Kfar Khollos | Coastal
kfar kidde | Coastal
Kfar Lichki | Inland
Kfar Mashoun | Coastal
Kfar Matta | Coastal
Kfar Melki Aakkar | Coastal
Kfar Niss | Western Mid-Mountain
Kfar Noun | Western Mid-Mountain
Kfar Qatra | Western Mid-Mountain
Kfar Qouas | Coastal
Kfar Qouq | High Mountain
Kfar Selouane | High Mountain
kfar shihham | Coastal
Kfar Tay El-Matn Aain Dara | High Mountain
Kfar Tay Kesrouane | Western Mid-Mountain
Kfar Tay Kesrouane... Ehmej | Western Mid-Mountain
Kfar Yassine | Coastal
Kfarb Shlaimane | Coastal
Kfarchakhna | Coastal
Kfardlaqous | Coastal
Kfarfou | Coastal
Kfarhata Zgharta | Coastal
Kfarhoura | Coastal
Kfarsghab Chatine | High Mountain
Kfaryachit | Coastal
Kfarzaina | Coastal
Kfayr Ez-Zait | Western Mid-Mountain
Kfifane | Coastal
Kfoun | Coastal
Kfour El-Aarbi | Western Mid-Mountain
Kfour Kesrouane | Western Mid-Mountain
khaldiye | Coastal
Khalouat Baabda | High Mountain
Khalouet Hasbaiya | Western Mid-Mountain
Khalsa | Western Mid-Mountain
Kharayeb El-Hermel | Inland
Kharayeb Nahr Ibrahim | Coastal
Kharbet Jbayl | Western Mid-Mountain
Kharnoub | Western Mid-Mountain
Kharnoubet Aakkar | Coastal
Khillet El-Mtain | Western Mid-Mountain
Khinchara | Western Mid-Mountain
Khirbet Bisri | Western Mid-Mountain
Khirbet Char | Coastal
Khirbet Daoud Aakkar | Coastal
khirbet doueir hasbayya | Western Mid-Mountain
Khirbet Er Remmane | Western Mid-Mountain
Khirbet Rouha | Inland
Khodr Baalbek | Inland
Khreibet Aakkar | Western Mid-Mountain
Khreibet Baabda | Western Mid-Mountain
Khreibet Baalbek | Inland
Khreibet Ej-Jindi | Coastal
Khreibet Hasbaiya | Western Mid-Mountain
Kloud El-Bakia | Coastal
Kneisset Aakkar | Coastal
Kneisset Baabda | Western Mid-Mountain
Kneisset Baalbek | Inland
Kneisset Ech-Chouf | Western Mid-Mountain
Kneisset Hnaider | Western Mid-Mountain
knisse | Coastal
Kouachra | Coastal
Koubba | Coastal
Koueikhat | Coastal
Kour | Coastal
Koura | Coastal
Kroum El-Aarab | Coastal
Laqlouq | High Mountain
Lassa | Western Mid-Mountain
Laylaki | Coastal
Lebaa | Coastal
Lehfed | Western Mid-Mountain
Louayzet Jezzine... Hasbaiya | Western Mid-Mountain
Maad | Coastal
Maarab | Western Mid-Mountain
Maaraboun | High Mountain
Maasser Beit Ed-Dine | Western Mid-Mountain
Maaysra El-Hermel Rachaiya el wadi | High Mountain
Maaysra Kesrouane | Coastal
Machha | Coastal
machmoucheh | Western Mid-Mountain
Machta Hammoud | Western Mid-Mountain
Majdala | Coastal
Majdaloun | Inland
Majdalouna | Coastal
Majdel Akkar Minyara | Coastal
Majdel Baana | Western Mid-Mountain
Majdel Balhis | Inland
Majdel El-Aqoura | High Mountain
Majdel El-Meouch | Western Mid-Mountain
Majdel tarchich | High Mountain
majidieh | Western Mid-Mountain
Majzoub | Coastal
Maknounet Jezzine | Western Mid-Mountain
Mansouriyet El-Matn | Coastal
maqneh | Inland
Mar Boutros Karm | Western Mid-Mountain
Mar Chaya et Mzakki | Western Mid-Mountain
Mar Mama | Western Mid-Mountain
Mar Touma | Coastal
marj ezzouhour (hawsh qinnabe) | Western Mid-Mountain
Marjaayoun | Coastal
Marjaba | Western Mid-Mountain
Marlaya | Coastal
mashhat | Western Mid-Mountain
Masqa | Western Mid-Mountain
massaoudiye | Coastal
Mastita | Coastal
mayassa | Western Mid-Mountain
Mayfouq | Western Mid-Mountain
Mazareaa Jabal Akroum | Western Mid-Mountain
mazboud | Coastal
Mazmoura | Coastal
Mazraat | Western Mid-Mountain
Mazraat Aassaf | Western Mid-Mountain
Mazraat Ajbeaa | Coastal
Mazraat Bani Saab | Western Mid-Mountain
Mazraat Beit Ghattas | Coastal
Mazraat beit Mchaik | High Mountain
Mazraat Deir Aaoukar | Coastal
Mazraat Ed-Douair | Western Mid-Mountain
Mazraat El-Hdaira | Coastal
Mazraat El-Kreme | Western Mid-Mountain
Mazraat El-Maaden | Western Mid-Mountain
Mazraat El-Mathane | Western Mid-Mountain
Mazraat Er-Ras | Coastal
Mazraat Er-Rouhbane | Western Mid-Mountain
Mazraat Es Siyad | High Mountain
Mazraat Es-Dahr | Western Mid-Mountain
Mazraat Et-Teffah | Western Mid-Mountain
mazraat jaafar | Inland
Mazraat Jnaid | Coastal
Mazraat Ketrane | Western Mid-Mountain
Mazraat Mrah El-Mir | Western Mid-Mountain
Mazraat Yachouaa | Coastal
Mazraet-El-Nahrieh | Western Mid-Mountain
mazrat btediniye | Western Mid-Mountain
Mchaa El Ftouh Mar Sarkis | High Mountain
Mchaa Faraya | High Mountain
Mchaa Kfar Dibiane | High Mountain
Mchikha | High Mountain
Mdoukha | Inland
Mechane | Western Mid-Mountain
Mechref | Coastal
Mehmarch | Western Mid-Mountain
Meimes | Western Mid-Mountain
Mejdlaiya | Western Mid-Mountain
Mejdlaiya Zgharta | Coastal
Melhem | Coastal
Menneaa | Western Mid-Mountain
Menqlet Mezher | Coastal
Merdache | Coastal
Meri | Western Mid-Mountain
Merkebta | Coastal
Metrit | Western Mid-Mountain
mghayre jbayl | High Mountain
mghayriye ech chouf | Coastal
Mhaidset Matn | Western Mid-Mountain
mhammara bejje | Coastal
Mhammaret | Coastal
mharbiye | Coastal
mhaydseh rachaya | Inland
Michmich Aakkar | Western Mid-Mountain
Michmich Jbayl | Western Mid-Mountain
Midane Jezzine | Western Mid-Mountain
Mighraq Aakkar | Coastal
Mimrine | Western Mid-Mountain
Minie | Coastal
Miriata | Coastal
Misraya | Inland
Miziara | Western Mid-Mountain
Mjaydel Jezzine | Coastal
Mkalles | Coastal
Mlikh | Western Mid-Mountain
Moghr El-Ahoual | Western Mid-Mountain
Moqraq | Inland
Morh Kfarsghab | Coastal
Mou... Aaley | Western Mid-Mountain
Moughayret Ech-Chouf | Coastal
Mounjez | Western Mid-Mountain
Mounsef | Coastal
Mqaiteaa | Coastal
mrah bou chdid | Western Mid-Mountain
Mrah Chdid | Coastal
Mrah El-Hajj | Western Mid-Mountain
Mrah El-Hbasse | Coastal
Mrah Es-Sfire | Western Mid-Mountain
Mrah Es-Srayj | Coastal
Mrah Ez Ziyat | Coastal
Mrebbine Aamchki | High Mountain
Mrouj | Western Mid-Mountain
Msalla | Coastal
mtallet ech chouf | Western Mid-Mountain
Mtayleb | Coastal
mza | Western Mid-Mountain
Mzairaa Baabda | Western Mid-Mountain
mzeihme | Coastal
Mzraat Kefraya | Coastal
Naamat | Coastal
Nabatieh | Coastal
Nabay | Coastal
Nabha Ed-Damdoum | High Mountain
Nabi Chbay | High Mountain
Nabi Chit | Inland
Nabi Osmane | Inland
Nabi Youcheaa | Coastal
Nahla | Western Mid-Mountain
nahleh baalbek | High Mountain
Nahr Ed-Dahab | Western Mid-Mountain
Nahr Ibrahim | Coastal
Nammoura | Coastal
Naqqach | Coastal
nfisse | Coastal
Niha El-Batroun Daouret Aakkar | Western Mid-Mountain
Noura Et-Tahta | Coastal
Ouadi Abou Youssef | Coastal
Ouadi Baanqoudaine | Coastal
Ouadi bnehlay | Coastal
Ouadi Chahine | Western Mid-Mountain
Ouadi Chahrour El Aaou | Coastal
Ouadi Chahrour Es-Souf | Coastal
Ouadi Ed-Deir | Coastal
Ouadi El-Aaoss mchaa marjhine | High Mountain
Ouadi El-Haour | Coastal
Ouadi El-Jamous | Coastal
Ouadi El-Laymoun | Coastal
Ouadi Es-Sitt | Western Mid-Mountain
Ouadi Faara | High Mountain
Ouadi Qannoubine | Western Mid-Mountain
Ouajh El-Hajjar | Coastal
Ouata El-Mrouj | Western Mid-Mountain
Ouata Houb | High Mountain
Ouata Sillam | Coastal
Qaa Baalbek | Inland
Qaa Baayoun | Inland
Qaa Wadi El-Khanzir | Inland
Qaabrine | Coastal
Qaaqour | Western Mid-Mountain
Qabaa Jezzine | Western Mid-Mountain
Qabaait | Coastal
Qachlaq | Coastal
Qahmez | Western Mid-Mountain
Qalaat Baabda | Western Mid-Mountain
Qannebet | Western Mid-Mountain
Qantarat Aakkar | Coastal
Qarah Bach | Coastal
Qardaf | Coastal
Qarha Aakkar Qnayouer | Western Mid-Mountain
Qarha Baalbek | Inland
Qarhaiya | Coastal
Qarne | Western Mid-Mountain
Qarsaita | Western Mid-Mountain
Qartaba | Western Mid-Mountain
Qartaboun | Coastal
Qatnaaoun | Coastal
Qatrani | Western Mid-Mountain
qattine-md | Western Mid-Mountain
qaytouleh | Western Mid-Mountain
Qbaiyat Aakkar | Western Mid-Mountain
Qboula | Coastal
Qemmamine | Western Mid-Mountain
Qennabet Broummana | Coastal
Qleiaat Aakkar | Coastal
Qleiaat Kesrouane | Western Mid-Mountain
Qnat | Western Mid-Mountain
Qobbayaa | Western Mid-Mountain
Qordata | Western Mid-Mountain
Qornayel | Western Mid-Mountain
Qornet Aakkar | Western Mid-Mountain
Qornet Chehouane | Coastal
Qornet El-Hamra | Coastal
Qorqraiya | Western Mid-Mountain
Qottara Jbayl | Western Mid-Mountain
Qoubber Chamra | Coastal
Qraine | Western Mid-Mountain
Qraiyat | Western Mid-Mountain
Qrayet Baabda | Western Mid-Mountain
Qsair Aakkar | Western Mid-Mountain
Qsarnaba | Inland
Qtale baabda | Western Mid-Mountain
Raachine | Western Mid-Mountain
Racha | Western Mid-Mountain
Rachaaine | Coastal
Rachaiya El-Foukhar | Western Mid-Mountain
Rachana | Coastal
Rachkida | Coastal
Rafid Rachaiya | Inland
rahbe | Coastal
Ram Baalbek | Inland
Ram El-Batroun | Western Mid-Mountain
Ramout | Coastal
Raouda-Aadoua | Coastal
Ras Baalbek Ech-Charqi | Inland
Ras Baalbek El Gharbi | High Mountain
Ras Baalbek Es-Sahel | Inland
Ras Baalbek Wadi Faara Rachaiya el wadi | Inland
Ras El Matn | Western Mid-Mountain
Ras El-Href | Western Mid-Mountain
Ras Kifa | Coastal
Ras Nahhach | Coastal
Ras Osta | Western Mid-Mountain
Rayfoun | Western Mid-Mountain
reiaa | Coastal
Richmaiya | Western Mid-Mountain
Riha | Inland
Rihane Jezzine | Western Mid-Mountain
Rihanet Jbayl | Coastal
rihaniet-minieh | Coastal
Rihaniyet Aakkar | Coastal
Rimat | Coastal
Rimhala | Western Mid-Mountain
rjoum | Coastal
Rmah | Western Mid-Mountain
Rmeilet Ech-Chouf | Coastal
Rmoul | Coastal
Rouayssat En-Naamane | Western Mid-Mountain
Rouaysset El-Ballout | Western Mid-Mountain
Roum | Western Mid-Mountain
Roumieh | Coastal
Roummanet | Western Mid-Mountain
Saadine | Coastal
saaideh | Inland
saaidiy | High Mountain
Sabbah | Western Mid-Mountain
Sadaqa Hrar | Western Mid-Mountain
Safra Kesrouane | Coastal
Sahel Aalma | Coastal
Saida | Coastal
Saidnaya | Coastal
Sakhra | Coastal
Salaiyeb | Western Mid-Mountain
Salima | Western Mid-Mountain
Salima Baabda | Western Mid-Mountain
sammaqiye | Coastal
sammouniye | Coastal
Sanaya | Western Mid-Mountain
Saoufar | Western Mid-Mountain
Saqi Richmaya | Western Mid-Mountain
Saqiet El-Khayt | Coastal
Saydoun | Western Mid-Mountain
Sayssouq | Coastal
Sbouba | Inland
Sebaal Zgharta | Coastal
Sebrine | Western Mid-Mountain
Selaata | Coastal
Selfaya | Western Mid-Mountain
Selsata | High Mountain
Semmaqli | Coastal
Seraaiita | High Mountain
Seraal | Western Mid-Mountain
Serraaine Et-Tahta | Inland
Sfaray | Coastal
Sfaynet El-Qaitaa | Coastal
Sfeilet Bikfaya | Western Mid-Mountain
Sfinet Ed-Draib | Coastal
sfireh | Western Mid-Mountain
Sghar | Coastal
Sibline | Coastal
Sindianet Zeidane | Western Mid-Mountain
Sinn El-Fil | Coastal
Sirhmoul | Coastal
Sirjbal | Coastal
Slouqi | Inland
Smar Jbayl | Coastal
Souaisset Aakkar | Coastal
Souanet Jbayl | Western Mid-Mountain
Souhailet El | Coastal
souhoum el ghineh | Western Mid-Mountain
Souq El-Gharb | Western Mid-Mountain
Sour | Coastal
Sourat El-Batroun | Coastal
Srar | Coastal
Srayri | Western Mid-Mountain
Taaid | Western Mid-Mountain
Tabarja | Coastal
Tahouitat El Ghadir | Coastal
Taibet Baalbek | Inland
Talia | Inland
Tall Aabbas Ech-Charqi | Coastal
Tall Aabbas El-Gharbi | Coastal
tall bireh | Coastal
Tall Hmayra | Coastal
Tall Meaayan Tall Kiri | Coastal
Tall Sebaal | Coastal
Tallet Chattaha | Coastal
Tallet Zgharta | Coastal
Tannoura | Inland
Tannourine El-Faouqa mchaa ej jibbeh | High Mountain
Tannourine Et-Tahta | Western Mid-Mountain
Taraiya | Inland
tarane | Western Mid-Mountain
Tarchich Mtain | High Mountain
Tartij Beslouqit | Western Mid-Mountain
tayoun | Western Mid-Mountain
Temnine El-Faouqa | Inland
Temnine Et-Tahta | Inland
Tfail | High Mountain
Thoum | Coastal
Tikrit | Coastal
Tleil | Coastal
Toula El-Batroun | Coastal
Toula Zgharta | Western Mid-Mountain
Tourbol | Coastal
Tourza | Western Mid-Mountain
Tourzaiya | Western Mid-Mountain
Tripoli | Coastal
Tshea | Western Mid-Mountain
Wadi Jezzine | Western Mid-Mountain
West Beqaa | Inland
yahchouch | Western Mid-Mountain
Yahfoufa | Inland
yammoune | High Mountain
Yanouh Jbayl | High Mountain
Yanta | Inland
Yanta | High Mountain
Youmine | Inland
zaaitre | Western Mid-Mountain
Zaarouriyeh | Western Mid-Mountain
Zabboud | Inland
Zaghartaghrine | Western Mid-Mountain
Zahle | Inland
Zaitoun | Coastal
Zakrit | Coastal
Zalqa | Coastal
Zandouqa | Western Mid-Mountain
Zane | Coastal
Zaraaoun | Western Mid-Mountain
Zgharta | Coastal
Zhilta | Western Mid-Mountain
Zibdine Jbayl | Coastal
Zighrine | High Mountain
zire | Coastal
Zouarib | Coastal
Zouk El-Kharab | Coastal
Zouk Mkayel | Coastal
Zouk Mousbeh | Coastal
Zouk-El-Hosmieh | Coastal
Zouq Bhannine | Coastal
Zouq El-Hadara | Coastal
Zouq El-Hbalsa | Coastal
Zouq El-Moqachrine | Coastal
Equipment | kW | kW
Batch Dryer | 30 | 90
Bottle Filler | 3 | 9
Carton Sealer | 3 | 9
Cleaning Machine | 2 | 6
Cold Storage Unit | 10 | 30
Computer | 0.05 | 0.15
Conveyor Belt | 3 | 9
Dehydrator | 3 | 9
Drum Dryer | 45 | 135
Electric Pellet Jack | 3 | 9
Fluidized Bed Dryer | 60 | 180
Fruit Grading Machine | 3 | 9
Fruit Peeling Machine | 2 | 6
Fruit Sorter | 4 | 12
Fruit Washing Machine | 3 | 9
Grain Dryer | 30 | 90
HID Lamp | 0.3 | 0.9
Incandescent Lamp | 0.1 | 0.3
Labelling Machine | 1 | 3
Laptop | 0.5 | 1.5
Milling Machine | 10 | 30
Office LED Light | 0.3 | 0.9
Optical Sorting Machine | 6 | 18
Packaging Machine | 5 | 15
Pallet Wrapper | 2 | 6
Printer | 0.5 | 1.5
Processing Machine | 10 | 30
Shrink Wrap Machine | 5 | 15
Sorting & Grading Machine | 3 | 9
Vaccum Packaging Machine | 3 | 9
Ventilation Fans | 0.3 | 0.9
Warehouse Lights | 0.3 | 0.9
Water Pump | 5 | 15
Weighing Machine | 1 | 3
Yes
No

## Solar Pumping Systems
الجمعية اللبنانية للطاقة الشمسية
LSES | The Lebanese Solar Energy Society
Solar PV Pumping System |  | Monthly Global Irradiation Data in kWh/m2 at 30° Tilt (LCEC/PVSYST)
|  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
This PV Tool is designed to estimate the capacity and cost of a photovoltaic (PV) system based on the energy consumption data entered by the user. The outputs provide only basic technical and financial figures and are intended for preliminary guidance. This tool does not constitute detailed engineering design or comprehensive financial analysis. Users should consult qualified professionals before making any technical or investment decisions. |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[10 empty] | Avg Daily Sunshine Hours |  |  |  | #N/A
Input 1
Facility Information |  | Pump Power (kW) |  |  | ENTER PUMP INFORMATION |  |  |  | Pump Efficiency |  |  | 65%
Project Details
Project Name |  | Recommended Solar Array Capacity (kW) |  |  | #VALUE! |  |  |  | Pump Flow Rate |  |  | 0
Type of Industry
Built-Up Area (m²) |  | January | February | March | April | May | June | July | August | September | October | November | December
Location |  | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 |  | Number of Days
Climatic Area |  | January | February | March | April | May | June | July | August | September | October | November | December
Number of Employees |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Yearly Needed Energy
Report Filled By |  | January | February | March | April | May | June | July | August | September | October | November | December
Name |  | 3.9254 | 5.0632 | 6.5417 | 6.9828 | 7.073 | 6.9414 | 6.9437 | 6.9112 | 6.7921 | 5.4333 | 4.2746 | 3.5826 |  | Pump Hours of Operation per day
Email |  | January | February | March | April | May | June | July | August | September | October | November | December
Phone Number |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Solar Energy Powering Pump
Customer Contact Details |  | January | February | March | April | May | June | July | August | September | October | November | December
First Name |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Energy Savings
Last Name | [13 empty] | #VALUE! | Coverage by Solar
Phone Number |  | January | February | March | April | May | June | July | August | September | October | November | December
Location |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Monthly Energy Generated in kWh After System Losses
Email | [13 empty] | #VALUE!
Company |  | January | February | March | April | May | June | July | August | September | October | November | December
Business Type |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Needed Water
Village
Caza |  | January | February | March | April | May | June | July | August | September | October | November | December
System Type (Select One) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pumped Water
System Type (Select One) | Solar Pumping System
PV Power System With Storage (With Battery)
PV Power System On-Grid (Without Battery)
Input 2
Pump Information - Fill Pump Information in One of The Below Options |  | Parameters with Default Values
|  | PV System Efficiency* |  |  | 70% |  | *Losses in system are due to inverter efficiency, cables losses, mismatch losses, dirt on modules, temperature losses, shading losses etc…
Option 1 - Capacity Input (kW) |  | PV Panels Efficiency |  |  | 22.6%
Pump Power (kW) |  | PV System Price per Watt |  |  | 0.55
|  | PV System Losses |  |  | 30%
Option 2 - Capacity Input (VA) |  | Fuel Price per kWh |  |  | 0.35
Pump Current per Phase (A)
Pump Voltage (V)
Option 3 - Head & Flow Input
Pump Total Head (m)
Flow Rate (m³/h)
Input 3
Design Criteria
Season | Working Time per Day (hours)
January (hours/day)
February (hours/day)
March (hours/day)
April (hours/day)
May (hours/day)
June (hours/day)
July (hours/day)
August (hours/day)
September (hours/day)
October (hours/day)
November (hours/day)
December (hours/day)
Solar Array Factor - Recommended value is 1.8 (PV array capacity ÷ pump power) Enter the ratio of the PV array capacity (kWp) to the pump motor power (kW). This factor directly influences how much of the pump’s daily energy demand can be met by solar energy. | 1.8
Flow Rate (m³/h) (Optional)
Output
Energy Demand
Pump Power (kW) | ENTER PUMP INFORMATION
Average Daily Needed Energy (kWh) | #VALUE!
Yearly Needed Energy (kWh) | #VALUE!
Recommended System
Recommended Solar Array Capacity (kWp) | #VALUE!
Used Solar Panel Capacity (Wp) | 580
Number of Panels to be Used | #VALUE!
Recommended VFD Inverter Capacity (kW) | #VALUE!
Area Of Panels Needed (sqrm) | #VALUE!
Total Area Needed South Pitched Roof (sqrm) | #VALUE!
Total Area Needed Ground Mount or Flat Roof (sqrm) | #VALUE!
Financial Analysis
Initial Investment | #VALUE!
Yearly System Generation Produced by the Solar System (kWh) | #VALUE!
Printable Graph
Yearly System Generation Produced by the Solar System (kWh)
Yearly Energy Savings Really Needed by Customer (kWh) | #VALUE!
Printable Graph
Yearly Energy Savings Really Needed by Customer (kWh)
Average Daily Pumped Water in m³ | 0
Printable Graph
Average Daily Pumped Water in m³
Yearly Financial Savings | #VALUE!
Energy Demand Covered by Solar | #VALUE!
Simple Payback Period (years) | #VALUE!
Return on Investment (ROI) | #VALUE!
Do you agree to share your contact details with solar vetted companies?
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1

## PV System With Storage Input 1
الجمعية اللبنانية للطاقة الشمسية
LSES |  |  | The Lebanese Solar Energy Society
Monthly Global Irradiation Data in kWh/m2 at 30° Tilt (LCEC/PVSYST)
PV System With Storage - Input 1: Energy Bills |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
|  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
This PV Tool is designed to estimate the capacity and cost of a photovoltaic (PV) system based on the energy consumption data entered by the user. The outputs provide only basic technical and financial figures and are intended for preliminary guidance. This tool does not constitute detailed engineering design or comprehensive financial analysis. Users should consult qualified professionals before making any technical or investment decisions. | [11 empty] | Avg Daily Sunshine Hours |  |  |  | #N/A
Number of Days
Input 1 |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Facility Information |  |  |  | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 365
Project Details
Project Name
Type of Industry
Built-Up Area (m²)
Location
Climatic Area
Number of Employees |  |  |  | Parameters with Default Values | [5 empty] | Parameters with Default Values
Report Filled By |  |  |  | PV Panels Efficiency |  |  | 22.65% |  |  | PV ARRAY |  |  | #N/A |  | PV MODULE PRICE PER WATT |  |  | 0.13
Name |  |  |  | Price per Watt Before VAT |  |  | #N/A |  |  | PV STRUCTURE |  |  | #N/A |  | STRUCTURE PRICE PER SQRM |  |  | 22
Email |  |  |  | PV System Efficiency* |  |  | 70% |  |  | INVERTER |  |  | #N/A |  | INVERTER PRICE PER KW |  |  | 100
Phone Number |  |  |  | Fuel Price per kWh |  |  | 0.3 |  |  | BATTERY BANK |  |  | #DIV/0! |  | BATTERY PRICE PER KWH |  |  | 150
Customer Contact Details |  |  |  | Inverter DC/AC Ratio |  |  | 1.2 |  |  | COMBINER / WIRING / INSTALLATION |  |  | #N/A |  | WIRING & INSTALLATION FEES |  |  | 25%
First Name |  |  |  | Autonomy if Day (Hours) |  |  | 2 |  |  | TOTAL |  |  | #N/A
Last Name |  |  |  | *Losses in system are due to inverter efficiency, cables losses, mismatch losses, dirt on modules, temperature losses, shading losses etc…
Phone Number
Location
Email
Company
Business Type
Village
Caza
System Type (Select One) |  |  |  | Season |  | Monthly Needed Energy (kWh) |  | Daily Needed Energy (kWh) |  | Average Daily Sunshine Hours |  | Solar Array Needed in kWp |  | % Day | % Night | Battery Bank Needed (kWh)
System Type (Select One) | Solar Pumping System
| PV Power System With Storage (With Battery) |  |  | January - March |  | 0 |  | 0 |  | #N/A |  | #N/A |  | #DIV/0! | #DIV/0! | #DIV/0!
| PV Power System On-Grid (Without Battery) |  |  | April - June |  | 0 |  | 0 |  | #N/A |  | #N/A |  | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | July - September |  | 0 |  | 0 |  | #N/A |  | #N/A |  | #DIV/0! | #DIV/0! | #DIV/0!
Input 2 |  |  |  | October - December |  | 0 |  | 0 |  | #N/A |  | #N/A |  | #DIV/0! | #DIV/0! | #DIV/0!
Input Method | [5 empty] | 0
Input Method (Select One) | Energy Bills
| Equipment Load Profile |  |  | Solar Array Recommended in kWp |  | #N/A
Total Power Consumption
|  |  |  | Battery Bank Recommended in kWh |  | #DIV/0! |  |  | `
Input 3 - Option 1 - Energy Bills
Grid Type | Single-Phase | Check Box
| Three-Phase | Check Box
Main Load Working Time (January - March) | 8.00 AM - 4.00 PM | Number of Hours
| 4.00 PM - 8.00 AM | Number of Hours
Main Load Working Time (April - June) | 8.00 AM - 4.00 PM | Number of Hours
| 4.00 PM - 8.00 AM | Number of Hours
Main Load Working Time (July - September) | 8.00 AM - 4.00 PM | Number of Hours
| 4.00 PM - 8.00 AM | Number of Hours
Main Load Working Time (October - December) | 8.00 AM - 4.00 PM | Number of Hours
| 4.00 PM - 8.00 AM | Number of Hours
EDL Bills per Month | kWh/Month
January - March |  |  |  | Monthly Energy Generated in kWh After System Losses
April - June |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
July - September |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
October - December |  |  |  | Number of Days
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Diesel Bills | Liters/Month |  |  | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 365
January - March |  |  |  | Monthly Energy Needed in kWh
April - June |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
July - September |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
October - December |  |  |  | Monthly Energy Used in kWh
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Private Subscription Bills | kWh/Month |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
January - March |  |  |  | Monthly Energy Not Used in kWh
April - June |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
July - September |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
October - December
Output
Energy Demand
Average Daily Needed Energy (kWh) | 0
Average Daily Needed Energy Storage (kWh) | #DIV/0!
Yearly Needed Energy (kWh) | 0
Recommended System
Recommended Solar Array Capacity (kWp) | #N/A
Used Solar Panel Capacity (Wp) | 580
Number of Panels to be Used | #N/A
Recommended Inverter Capacity (kW) | #N/A
Recommended Battery Bank Capacity (kWh) | #DIV/0!
Area Of Panels Needed (sqrm) | #N/A
Total Area Needed South Pitched Roof (sqrm) | #N/A
Total Area Needed Ground Mount or Flat Roof (sqrm) | #N/A
Financial Analysis
Initial Investment | #N/A
Yearly System Generation Produced by the Solar System (kWh) | #N/A
Printable Graph
Yearly System Generation Produced by the Solar System (kWh)
Yearly Energy Savings Really Needed by Customer (kWh) | #N/A
Printable Graph
Yearly Energy Savings Really Needed by Customer (kWh)
Yearly Financial Savings | #N/A
Energy Demand Covered by Solar | #N/A
Simple Payback Period (years) | #N/A
Return on Investment (ROI) | #N/A
Do you agree to share your contact details with solar vetted companies?
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1

## PV System With Storage Input 2
الجمعية اللبنانية للطاقة الشمسية
LSES | [10 empty] | The Lebanese Solar Energy Society
Monthly Global Irradiation Data in kWh/m2 at 30° Tilt (LCEC/PVSYST)
PV System With Storage - Input 2: Equipment Load Profile | [11 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
[12 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
This PV Tool is designed to estimate the capacity and cost of a photovoltaic (PV) system based on the energy consumption data entered by the user. The outputs provide only basic technical and financial figures and are intended for preliminary guidance. This tool does not constitute detailed engineering design or comprehensive financial analysis. Users should consult qualified professionals before making any technical or investment decisions. | [11 empty] | Number of Days
[12 empty] | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 365
Input 1
Facility Information
Project Details
Project Name
Type of Industry | [11 empty] | Parameters with Default Values | [5 empty] | Parameters with Default Values
Built-Up Area (m²) | [11 empty] | PV Panels Efficiency |  |  | 22.65% |  |  | PV ARRAY PRICE |  |  | #N/A |  | PV MODULE PRICE PER WATT |  |  | 0.13
Location | [11 empty] | Price per Watt |  |  | 0.6 |  |  | PV STRUCTURE |  |  | #N/A |  | STRUCTURE PRICE PER SQRM |  |  | 22
Climatic Area | #N/A | [10 empty] | PV System Efficiency* |  |  | 70% |  |  | INVERTER |  |  | #N/A |  | INVERTER PRICE PER KW |  |  | 100
Number of Employees | [11 empty] | Fuel Price per kWh |  |  | 0.3 |  |  | BATTERY BANK |  |  | 0 |  | BATTERY PRICE PER KWH |  |  | 150
Report Filled By | [11 empty] | Inverter DC/AC Ratio |  |  | 1.2 |  |  | COMBINER / WIRING / INSTALLATION |  |  | #N/A |  | WIRING & INSTALLATION FEES |  |  | 25%
Name | [17 empty] | TOTAL |  |  | #N/A
Email | [11 empty] | *Losses in system are due to inverter efficiency, cables losses, mismatch losses, dirt on modules, temperature losses, shading losses etc…
Phone Number
Customer Contact Details
First Name
Last Name
Phone Number | [16 empty] | `
Location | [11 empty] | Season |  | Daily Needed Energy (kWh) |  | Average Daily Sunshine Hours |  | Solar Array Needed in kWp |  | Battery Bank Needed (kWh) | [6 empty] | Energy Needed During Day kWh | Energy Needed During Night kWh |  | Season |  | Daily Energy Needed | Average Daily Sunshine Hours | Solar Array Needed in kWp
Email
Company | [11 empty] | January - March |  | 0 |  | #N/A |  | #N/A |  | 0 | [9 empty] | January - March |  | 0 |  | #N/A
Business Type | [11 empty] | April - June |  | 0 |  | #N/A |  | #N/A |  | 0 | [6 empty] | 0 | 0 |  | April - June |  | 0 |  | #N/A
Village | [11 empty] | July - September |  | 0 |  | #N/A |  | #N/A |  | 0 | [6 empty] | Solar Array Recommended in kWp | #N/A |  | July - September |  | 0 |  | #N/A
Caza | [11 empty] | October - December |  | 0 |  | #N/A |  | #N/A |  | 0 | [9 empty] | October - December |  | 0 |  | #N/A
System Type (Select One) | [13 empty] | 0 | [14 empty] | Battery Bank Recommended in kWh |  | 0 |  | Solar Array Recommended in kWp | #N/A
System Type (Select One) | Solar Pumping System | [12 empty] | 0 | [5 empty] | 0
| PV Power System With Storage (With Battery) | [10 empty] | Solar Array Recommended in kWp |  | #N/A
PV Power System On-Grid (Without Battery)
[12 empty] | Battery Bank Recommended in kWh |  | 0 |  |  | `
`
Input 2
Input Method
Input Method (Select One) | Energy Bills
Equipment Load Profile
Total Power Consumption
Input 3 - Option 2 - Equipment Load Profile
Grid Type | Single-Phase | Check Box | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Three-Phase | Check Box | [9 empty] | Load (kW) | Surge Load (kW) | January - March |  | April - June |  | July - September |  | October - December
[14 empty] | Energy for Day (kWh) | Energy for Night (kWh) | Energy for Day (kWh) | Energy for Night (kWh) | Energy for Day (kWh) | Energy for Night (kWh) | Energy for Day (kWh) | Energy for Night (kWh)
If you don’t know your equipment power, choose from the equipment pre-set list | Load (kW) | Surge Load (kW) | Quantity | January - March |  | April - June |  | July - September |  | October - December
|  |  |  | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0
| 0 | 0
Other Equipments | Load (kW) (If you know the current consumption in Amperes, follow the formula: kW = # of Phases x 220 V x Amperes / 1000) | Surge Load (kW) | Quantity | January - March |  | April - June |  | July - September |  | October - December
|  |  |  | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Output
Energy Demand
Average Daily Needed Energy (kWh) | 0 | [10 empty] | Monthly Energy Generated in kWh After System Losses
Average Daily Needed Energy Storage (kWh) | 0 | [10 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Yearly Needed Energy (kWh) | 0 | [10 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Recommended System | [11 empty] | Number of Days
Recommended Solar Array Capacity (kWp) | #N/A | [10 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Used Solar Panel Capacity (Wp) | [11 empty] | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 365
Number of Panels to be Used | #N/A | [10 empty] | Daily Energy Needed in kWh
Recommended Inverter Capacity (kW) | #N/A | [10 empty] | January | February | March | April | May | June | July | August | September | October | November | December
Recommended Inverter Surge Capacity (kW) | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Recommended Battery Bank Capacity (kWh) | 0 | [10 empty] | Monthly Energy Needed in kWh
Area Of Panels Needed (sqrm) | #N/A | [10 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Total Area Needed South Pitched Roof (sqrm) | #N/A | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Area Needed Ground Mount or Flat Roof (sqrm) | #N/A | [10 empty] | Monthly Energy Used in kWh
Financial Analysis | [11 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Initial Investment | #N/A | [10 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Yearly System Generation Produced by the Solar System (kWh) | #N/A | [10 empty] | Monthly Energy Not Used in kWh
Printable Graph | [11 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Yearly System Generation Produced by the Solar System (kWh) | [11 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Monthly Deficit in Solar Energy
[12 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
[12 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Yearly Energy Savings Really Needed by Customer (kWh) | #N/A
Printable Graph
Yearly Energy Savings Really Needed by Customer (kWh)
Yearly Financial Savings | #N/A
Energy Demand Covered by Solar | #N/A
Simple Payback Period (years) | #N/A
Return on Investment (ROI) | #N/A
Do you agree to share your contact details with solar vetted companies?
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1

## PV System With Storage Input 3
الجمعية اللبنانية للطاقة الشمسية
LSES |  |  | The Lebanese Solar Energy Society
PV System With Storage - Input 3: Total Power Consumption
This PV Tool is designed to estimate the capacity and cost of a photovoltaic (PV) system based on the energy consumption data entered by the user. The outputs provide only basic technical and financial figures and are intended for preliminary guidance. This tool does not constitute detailed engineering design or comprehensive financial analysis. Users should consult qualified professionals before making any technical or investment decisions.
Monthly Global Irradiation Data in kWh/m2 at 30° Tilt (LCEC/PVSYST)
Input 1 |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Facility Information |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Project Details | [11 empty] | Avg Daily Sunshine Hours |  |  |  | #N/A
Project Name |  |  |  | Number of Days
Type of Industry |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Built-Up Area (m²) |  |  |  | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 365
Location
Climatic Area | #N/A
Number of Employees
Report Filled By
Name
Email |  |  |  | Parameters with Default Values
Phone Number |  |  |  | PV Panels Efficiency |  |  | 22.65% |  |  | PV ARRAY PRICE |  |  | #N/A |  | PV MODULE PRICE PER WATT |  |  | 0.13
Customer Contact Details |  |  |  | Price per Watt |  |  | #N/A |  |  | PV STRUCTURE |  |  | #N/A |  | STRUCTURE PRICE PER SQRM |  |  | 22
First Name |  |  |  | PV System Efficiency* |  |  | 70% |  |  | INVERTER |  |  | #N/A |  | INVERTER PRICE PER KW |  |  | 100
Last Name |  |  |  | Fuel Price per kWh |  |  | 0.3 |  |  | BATTERY BANK |  |  | 0 |  | BATTERY PRICE PER KWH |  |  | 150
Phone Number |  |  |  | Inverter DC/AC Ratio |  |  | 1.2 |  |  | COMBINER / WIRING / INSTALLATION |  |  | #N/A |  | WIRING & INSTALLATION FEES |  |  | 25%
Location | [9 empty] | TOTAL |  |  | #N/A
Email
Company |  |  |  | *Losses in system are due to inverter efficiency, cables losses, mismatch losses, dirt on modules, temperature losses, shading losses etc…
Business Type
Village
Caza
System Type (Select One)
System Type (Select One) | Solar Pumping System | [7 empty] | `
| PV Power System With Storage (With Battery) |  |  | Season |  | Daily Needed Energy (kWh) |  | Average Daily Sunshine Hours |  | Solar Array Needed in kWp |  | Battery Bank Needed (kWh)
PV Power System On-Grid (Without Battery)
|  |  |  | January - March |  | 0 |  | #N/A |  | #N/A |  | 0
Input 2 |  |  |  | April - June |  | 0 |  | #N/A |  | #N/A |  | 0
Input Method |  |  |  | July - September |  | 0 |  | #N/A |  | #N/A |  | 0
Input Method (Select One) | Energy Bills |  |  | October - December |  | 0 |  | #N/A |  | #N/A |  | 0
| Equipment Load Profile |  |  |  |  | 0
| Total Power Consumption |  |  |  |  | 0 | [5 empty] | 0
|  |  |  | Solar Array Recommended in kWp |  | #N/A
Input 3 - Option 3 - Available Power Source
|  |  |  | Battery Bank Recommended in kWh |  | 0 |  |  | `
Grid Type | Single-Phase | Check Box | x
| Three-Phase | Check Box
Monthly Energy Generated in kWh After System Losses
January - March |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
|  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Number of Days
Average Power Consumption Per Day (8.00 AM - 4.00 PM) (Not PEAK Power Consumption Per Day) | Volts | 220 |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
| Average Amperes per Phase |  |  | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 365
| Hours of Operation |  |  | Daily Energy Needed in kWh
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December
Average Power Consumption Per Night (4.00 PM - 8.00 AM) (Not PEAK Power Consumption Per Night) | Volts | 220 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Average Amperes per Phase |  |  | Monthly Energy Needed in kWh
| Hours of Operation |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April - June |  |  |  | Monthly Energy Used in kWh
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
|  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Average Power Consumption Per Day (8.00 AM - 4.00 PM) (Not PEAK Power Consumption Per Day) | Volts | 220 |  | Monthly Energy Not Used in kWh
| Average Amperes per Phase |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
| Hours of Operation |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Monthly Deficit in Solar Energy
Average Power Consumption Per Night (4.00 PM - 8.00 AM) (Not PEAK Power Consumption Per Night) | Volts | 220 |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
| Average Amperes per Phase |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Hours of Operation
July - September
Average Power Consumption Per Day (8.00 AM - 4.00 PM) (Not PEAK Power Consumption Per Day) | Volts | 220
Average Amperes per Phase
Hours of Operation
Average Power Consumption Per Night (4.00 PM - 8.00 AM) (Not PEAK Power Consumption Per Night) | Volts | 220
Average Amperes per Phase
Hours of Operation
October - December
Average Power Consumption Per Day (8.00 AM - 4.00 PM) (Not PEAK Power Consumption Per Day) | Volts | 220
Average Amperes per Phase
Hours of Operation
Average Power Consumption Per Night (4.00 PM - 8.00 AM) (Not PEAK Power Consumption Per Night) | Volts | 220
Average Amperes per Phase
Hours of Operation
Output
Energy Demand
Average Daily Needed Energy (kWh) | 0
Average Daily Needed Energy Storage (kWh) | 0
Yearly Needed Energy (kWh) | 0
Recommended System
Recommended Solar Array Capacity (kWp) | #N/A
Used Solar Panel Capacity (Wp) | 580
Number of Panels to be Used | #N/A
Recommended Inverter Capacity (kW) | #N/A
Recommended Battery Bank Capacity (kWh) | 0
Area Of Panels Needed (sqrm) | #N/A
Total Area Needed South Pitched Roof (sqrm) | #N/A
Total Area Needed Ground Mount or Flat Roof (sqrm) | #N/A
Financial Analysis
Initial Investment | #N/A
Yearly System Generation Produced by the Solar System (kWh) | #N/A
Printable Graph
Yearly System Generation Produced by the Solar System (kWh)
Yearly Energy Savings Really Needed by Customer (kWh) | #N/A
Printable Graph
Yearly Energy Savings Really Needed by Customer (kWh)
Yearly Financial Savings | #N/A
Energy Demand Covered by Solar | #N/A
Simple Payback Period (years) | #N/A
Return on Investment (ROI) | #N/A
Do you agree to share your contact details with solar vetted companies?
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1

## On-Grid PV Input 1
الجمعية اللبنانية للطاقة الشمسية
LSES |  |  | The Lebanese Solar Energy Society
On-Grid PV System - Input 1: Energy Bills
This PV Tool is designed to estimate the capacity and cost of a photovoltaic (PV) system based on the energy consumption data entered by the user. The outputs provide only basic technical and financial figures and are intended for preliminary guidance. This tool does not constitute detailed engineering design or comprehensive financial analysis. Users should consult qualified professionals before making any technical or investment decisions.
Monthly Global Irradiation Data in kWh/m2 at 30° Tilt (LCEC/PVSYST)
Input 1 |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Facility Information |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Project Details | [11 empty] | Avg Daily Sunshine Hours |  |  |  | #N/A
Project Name |  |  |  | Number of Days
Type of Industry |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Built-Up Area (m²) |  |  |  | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 365
Location
Climatic Area |  |  |  | Daily Sunshine Hours
Number of Employees |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Report Filled By |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Name
Email
Phone Number
Customer Contact Details
First Name |  |  |  | Season |  | Monthly Energy Needed (kWh) |  | % Day | % Night | Monthly Energy Needed (Day) (kWh) |  | Daily Energy Needed (Day) (kWh) |  | Monthly Energy Needed (Night) (kWh) |  | Daily Energy Needed (Night) (kWh) |  | Average Daily Sunshine Hours |  | Solar Array Needed in kWp for Day | Solar Array Needed in kWp for Night
Last Name
Phone Number |  |  |  | January - March |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #N/A |  | #DIV/0! | #DIV/0!
Location |  |  |  | April - June |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #N/A |  | #DIV/0! | #DIV/0!
Email |  |  |  | July - September |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #N/A |  | #DIV/0! | #DIV/0!
Company |  |  |  | October - December |  | 0 |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #N/A |  | #DIV/0! | #DIV/0!
Business Type | [5 empty] | 0 |  |  |  | Day Solar Array Recommended in kWp |  | #DIV/0! |  | Night Solar Array Recommended in kWp |  | #DIV/0!
Village
Caza
System Type (Select One) |  |  |  | Recommended Solar Array |  | #DIV/0!
System Type (Select One) | Solar Pumping System
PV Power System With Storage (With Battery)
| PV Power System On-Grid (Without Battery) |  |  | Parameters with Default Values
|  |  |  | PV Panels Efficiency |  |  | 22.65%
Input 2 |  |  |  | Price per Watt Before VAT |  |  | 0.5
Input Method |  |  |  | PV System Efficiency* |  |  | 70% |  | *Losses in system are due to inverter efficiency, cables losses, mismatch losses, dirt on modules, temperature losses, shading losses etc…
Input Method (Select One) | Energy Bills |  |  | Fuel Price (Generator) per kWh |  |  | 0.3
| Equipment Load Profile |  |  | EDL Price per kWh |  |  | 0.27
| Total Power Consumption |  |  | Inverter DC/AC Ratio |  |  | 1.2
Input 3 - Option 1 - Energy Bills
Monthly Energy Generated From System in kWh After System Losses
Source Type | EDL | Check Box |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Yearly
| Private Subscription | Check Box |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Diesel Generator | Check Box
IF UTILITY GRID IS AVAILABLE 24 HOURS/DAY AND NET METERING IS AVAILABLE
Grid Type | Single-Phase | Check Box |  | Monthly Energy Needed in kWh
| Three-Phase | Check Box |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Main Load Working Time (January - March) | 8.00 AM - 4.00 PM | Number of Hours |  | Monthly Energy Saved in kWh
| 4.00 PM - 8.00 AM | Number of Hours |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Solar Coverage | Savings
|  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Main Load Working Time (April - June) | 8.00 AM - 4.00 PM | Number of Hours |  | IF UTILITY GRID IS AVAILABLE 24 HOURS/DAY AND NET METERING IS NOT AVAILABLE
| 4.00 PM - 8.00 AM | Number of Hours |  | Monthly Energy Needed in kWh
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Main Load Working Time (July - September) | 8.00 AM - 4.00 PM | Number of Hours |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 4.00 PM - 8.00 AM | Number of Hours |  | Monthly Energy Saved in kWh
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Solar Coverage | Savings
Main Load Working Time (October - December) | 8.00 AM - 4.00 PM | Number of Hours |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 4.00 PM - 8.00 AM | Number of Hours |  | IF UTILITY GRID IS NOT AVAILABLE 24 HOURS/DAY
Monthly Energy Needed in kWh
Is Utility Grid Available 24 Hours per Day? | Yes |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
|  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Monthly Day Energy Deducted for Generator in kWh
Is Netmetering Available? | No |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly |  | Time EDL | Time Generator
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 100% | 0%
Monthly Energy Saved in kWh
Diesel Generator Power in KVA |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Solar Coverage | Savings
| Choose the smallest genset available on site and operational during day-time |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Diesel Generator Running Time in Hours
| Diesel generator running time during day-time only |  |  | Monthly Energy Savings
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Solar Coverage | Savings
EDL Bills per Month | kWh/Month |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
January - March
April - June
July - September
October - December
Diesel Bills | Liters/Month
January - March
April - June
July - September
October - December
Private Subscription Bills | kWh/Month
January - March
April - June
July - September
October - December
Output
Energy Demand
Average Daily Energy Demand (kWh) | 0
Yearly Needed Energy (kWh) | 0
Recommended System
Recommended Solar Array Capacity (kWp) | #DIV/0!
Used Solar Panel Capacity (Wp) | 580
Number of Panels to be Used | #DIV/0!
Recommended Inverter Capacity (kW) | #DIV/0!
Area Of Panels Needed (sqrm) | #DIV/0!
Total Area Needed South Pitched Roof (sqrm) | #DIV/0!
Total Area Needed Ground Mount or Flat Roof (sqrm) | #DIV/0!
Financial Analysis
Initial Investment | #DIV/0!
Yearly System Generation Produced by the Solar System (kWh) | #DIV/0!
Printable Graph
Yearly System Generation Produced by the Solar System (kWh)
Yearly Energy Savings Really Needed by Customer (kWh) | #DIV/0!
Printable Graph
Yearly Energy Savings Really Needed by Customer (kWh)
Yearly Financial Savings | #DIV/0!
Energy Demand Covered by Solar | #DIV/0!
Simple Payback Period (years) | #DIV/0!
Return on Investment (ROI) | #DIV/0!
Do you agree to share your contact details with solar vetted companies?
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1

## On-Grid PV Input 2
الجمعية اللبنانية للطاقة الشمسية
LSES | [5 empty] | The Lebanese Solar Energy Society
On-Grid PV System - Input 2: Equipment Load Profile
This PV Tool is designed to estimate the capacity and cost of a photovoltaic (PV) system based on the energy consumption data entered by the user. The outputs provide only basic technical and financial figures and are intended for preliminary guidance. This tool does not constitute detailed engineering design or comprehensive financial analysis. Users should consult qualified professionals before making any technical or investment decisions.
Monthly Global Irradiation Data in kWh/m2 at 30° Tilt (LCEC/PVSYST)
Input 1 | [11 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Facility Information | [11 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Project Details | [19 empty] | Avg Daily Sunshine Hours |  |  |  | #N/A
Project Name | [11 empty] | Number of Days
Type of Industry | [11 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Built-Up Area (m²) | [11 empty] | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 365
Location
Climatic Area | [11 empty] | Daily Sunshine Hours
Number of Employees | [11 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Report Filled By | [11 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Name
Email
Phone Number | [11 empty] | Season |  | Daily Energy Needed (Day) (kWh) |  | Daily Energy Needed (Night) (kWh) |  | Average Daily Sunshine Hours |  | Solar Array Needed in kWp for Day |  | Solar Array Needed in kWp for Night
Customer Contact Details
First Name | [11 empty] | January - March |  | 0 |  | 0 |  | #N/A |  | #N/A |  | #N/A
Last Name | [11 empty] | April - June |  | 0 |  | 0 |  | #N/A |  | #N/A |  | #N/A | [5 empty] | Daily Energy Needed During Day kWh | Day Solar Array Recommended in kWp | Daily Energy Needed During Night kWh | Night Solar Array Recommended in kWp |  | Season | Daily Energy Needed for Day | Average Daily Sunshine Hours | Solar Array Needed in kWp for Day | Daily Energy Needed for Night | Average Daily Sunshine Hours | Solar Array Needed in kWp for Night
Phone Number | [11 empty] | July - September |  | 0 |  | 0 |  | #N/A |  | #N/A |  | #N/A
Location | [11 empty] | October - December |  | 0 |  | 0 |  | #N/A |  | #N/A |  | #N/A | [10 empty] | January - March | 0 | #N/A | #N/A | 0 | #N/A | #N/A
Email | [13 empty] | 0 |  | 0 |  | Day Solar Array Recommended in kWp |  | #N/A |  | Night Solar Array Recommended in kWp |  | #N/A | [5 empty] | 0 | #N/A | 0 | #N/A | April - June | 0 | #N/A | #N/A | 0 | #N/A | #N/A
Company | [13 empty] | 0 | [19 empty] | July - September | 0 | #N/A | #N/A | 0 | #N/A | #N/A
Business Type | [29 empty] | Recommended Solar Array |  | ENTER GRID AVAILABILITY INFO |  | October - December | 0 | #N/A | #N/A | 0 | #N/A | #N/A
Village | [11 empty] | Recommended Solar Array |  | ENTER GRID AVAILABILITY INFO
Caza
System Type (Select One)
System Type (Select One) | Solar Pumping System
PV Power System With Storage (With Battery)
PV Power System On-Grid (Without Battery)
`
Input 2
Input Method
Input Method (Select One) | Energy Bills
Equipment Load Profile
Total Power Consumption
Parameters with Default Values
Input 3 - Option 2 - Equipment Load Profile | [11 empty] | PV Panels Efficiency |  |  | 22.65%
[12 empty] | Price per Watt Before VAT |  |  | 0.6
Source Type | EDL | Check Box | [9 empty] | PV System Efficiency* |  |  | 70% |  | *Losses in system are due to inverter efficiency, cables losses, mismatch losses, dirt on modules, temperature losses, shading losses etc…
| Private Subscription | Check Box | [9 empty] | Fuel Price per kWh |  |  | 0.3
| Diesel Generator | Check Box | [9 empty] | EDL rice per kWh |  |  | 0.27
[12 empty] | Inverter DC/AC Ratio |  |  | 1.2
Grid Type | Single-Phase | Check Box
| Three-Phase | Check Box
Is Utility Grid Available 24 Hours per Day?
Is Netmetering Available?
Diesel Generator Power in KVA | 40
Choose the smallest genset available on site and operational during day-time
Diesel Generator Running Time in Hours
Diesel generator running time during day-time only
If you don’t know your equipment power, choose from the equipment pre-set list | Load (kW) | Surge Load (kW) | Quantity | January - March |  | April - June |  | July - September |  | October - December |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | Load (kW) | Surge Load (kW) | January - March |  | April - June |  | July - September |  | October - December
[14 empty] | Energy for Day (kWh) | Energy for Night (kWh) | Energy for Day (kWh) | Energy for Night (kWh) | Energy for Day (kWh) | Energy for Night (kWh) | Energy for Day (kWh) | Energy for Night (kWh)
| 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Equipments | Load (kW) (If you know the current consumption in Amperes, follow the formula: kW = # of Phases x 220 V x Amperes / 1000) | Surge Load (kW) | Quantity | January - March |  | April - June |  | July - September |  | October - December
|  |  |  | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM | Working Hours Between 8.00 AM - 4.00 PM | Working Hours Between 4.00 PM - 8.00 AM
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Output
Energy Demand | [11 empty] | Number of Days
Average Daily Energy Demand (kWh) | 0 | [10 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Yearly Needed Energy (kWh) | 0 | [10 empty] | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 365
Recommended System | [11 empty] | Daily Energy Needed in kWh
Recommended Solar Array Capacity (kWp) | ENTER GRID AVAILABILITY INFO | [10 empty] | January | February | March | April | May | June | July | August | September | October | November | December
Used Solar Panel Capacity (Wp) | 580 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Number of Panels to be Used | #VALUE! | [10 empty] | Monthly Total Energy Needed in kWh
Recommended Inverter Capacity (kW) | #VALUE! | [10 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Recommended Inverter Surge Capacity (kW) | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Area Of Panels Needed (sqrm) | #VALUE!
Total Area Needed South Pitched Roof (sqrm) | #VALUE! | [10 empty] | Daily Energy Needed for Day in kWh
Total Area Needed Ground Mount or Flat Roof (sqrm) | #VALUE! | [10 empty] | January | February | March | April | May | June | July | August | September | October | November | December
Financial Analysis | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Initial Investment | #VALUE! | [10 empty] | Monthly Energy Needed for Day in kWh
Yearly System Generation Produced by the Solar System (kWh) | #VALUE! | [10 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Printable Graph | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Yearly System Generation Produced by the Solar System (kWh)
Daily Energy Needed for Night in kWh
[12 empty] | January | February | March | April | May | June | July | August | September | October | November | December
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Yearly Energy Savings Really Needed by Customer (kWh) | #VALUE! | [10 empty] | Monthly Energy Needed for Night in kWh
Printable Graph | [11 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Yearly Energy Savings Really Needed by Customer (kWh) | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly Energy Generated From System in kWh After System Losses
[12 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Yearly
Yearly Financial Savings | #VALUE! | [10 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Energy Demand Covered by Solar | #VALUE!
Simple Payback Period (years) | #VALUE! | [10 empty] | IF UTILITY GRID IS AVAILABLE 24 HOURS/DAY AND NET METERING IS AVAILABLE
Return on Investment (ROI) | #VALUE! | [10 empty] | Monthly Energy Needed in kWh
Do you agree to share your contact details with solar vetted companies? | [11 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly Energy Saved in kWh
[12 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Solar Coverage | Savings
[12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
IF UTILITY GRID IS AVAILABLE 24 HOURS/DAY AND NET METERING IS NOT AVAILABLE
Monthly Energy Needed in kWh
[12 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly Energy Saved in kWh
[12 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Solar Coverage | Savings
[12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
IF UTILITY GRID IS NOT AVAILABLE 24 HOURS/DAY
Monthly Energy Needed in kWh
[12 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly Day Energy Deducted for Generator in kWh
[12 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly |  | Time EDL | Time Generator
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 100% | 0%
Monthly Energy Saved in kWh
[12 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Solar Coverage | Savings
[12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Monthly Energy Savings
[12 empty] | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Solar Coverage | Savings
[12 empty] | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1

## On-Grid Input 3
الجمعية اللبنانية للطاقة الشمسية
LSES |  |  | The Lebanese Solar Energy Society
On-Grid PV System - Input 3: Total Power Consumption
This PV Tool is designed to estimate the capacity and cost of a photovoltaic (PV) system based on the energy consumption data entered by the user. The outputs provide only basic technical and financial figures and are intended for preliminary guidance. This tool does not constitute detailed engineering design or comprehensive financial analysis. Users should consult qualified professionals before making any technical or investment decisions.
Monthly Global Irradiation Data in kWh/m2 at 30° Tilt (LCEC/PVSYST)
Input 1 |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Facility Information |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Project Details | [11 empty] | Avg Daily Sunshine Hours |  |  |  | #N/A
Project Name |  |  |  | Number of Days
Type of Industry |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Built-Up Area (m²) |  |  |  | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 365
Location
Climatic Area |  |  |  | Daily Sunshine Hours
Number of Employees |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Report Filled By |  |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
Name
Email
Phone Number
Customer Contact Details
First Name |  |  |  | Season |  | Daily Energy Needed (Day) (kWh) |  | Daily Energy Needed (Night) (kWh) |  | Average Daily Sunshine Hours |  | Solar Array Needed in kWp for Day |  | Solar Array Needed in kWp for Night
Last Name
Phone Number |  |  |  | January - March |  | 0 |  | 0 |  | #N/A |  | #N/A |  | #N/A
Location |  |  |  | April - June |  | 0 |  | 0 |  | #N/A |  | #N/A |  | #N/A
Email |  |  |  | July - September |  | 0 |  | 0 |  | #N/A |  | #N/A |  | #N/A
Company |  |  |  | October - December |  | 0 |  | 0 |  | #N/A |  | #N/A |  | #N/A
Business Type | [5 empty] | 0 |  | 0 |  | Day Solar Array Recommended in kWp | #N/A |  |  | Night Solar Array Recommended in kWp | #N/A
Village | [5 empty] | 0
Caza
System Type (Select One) |  |  |  | Recommended Solar Array |  | ENTER GRID AVAILABILITY INFO
System Type (Select One) | Solar Pumping System
PV Power System With Storage (With Battery)
| PV Power System On-Grid (Without Battery) |  |  | Parameters with Default Values
|  |  |  | PV Panels Efficiency |  |  | 22.65%
Input 2 |  |  |  | Price per Watt Before VAT |  |  | 0.6
Input Method |  |  |  | PV System Efficiency* |  |  | 70% |  | * Losses in system are due to inverter efficiency, cables losses, mismatch losses, dirt on modules, temperature losses, shading losses etc…
Input Method (Select One) | Energy Bills |  |  | Fuel Price per kWh |  |  | 0.3
| Equipment Load Profile |  |  | EDL Price per kWh |  |  | 0.27
| Total Power Consumption |  |  | Inverter DC/AC Ratio |  |  | 1.2
Input 3 - Option 3 - Available Sources Capacity |  |  |  | Number of Days
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Source Type | EDL | Check Box |  | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31 | 365
| Private Subscription | Check Box |  | Daily Energy Needed in kWh
| Diesel Generator | Check Box |  | January | February | March | April | May | June | July | August | September | October | November | December
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grid Type | Single-Phase | Check Box |  | Monthly Total Energy Needed in kWh
| Three-Phase | Check Box | x | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Is Utility Grid Available 24 Hours per Day?
Daily Energy Needed for Day in kWh
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December
Is Netmetering Available? |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly Energy Needed for Day in kWh
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
Diesel Generator Power in KVA |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Choose the smallest genset available on site and operational during day-time
Daily Energy Needed for Night in kWh
Diesel Generator Running Time in Hours |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December
| Diesel generator running time during day-time only |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Monthly Energy Needed for Night in kWh
January - March |  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average Power Consumption Per Day (8.00 AM - 4.00 PM) (Not PEAK Power Consumption Per Day) | Volts |  |  | Monthly Energy Generated From System in kWh After System Losses
| Average Amperes per Phase |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Yearly
| Hours of Operation |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Average Power Consumption Per Night (4.00 PM - 8.00 AM) (Not PEAK Power Consumption Per Night) | Volts |  |  | IF UTILITY GRID IS AVAILABLE 24 HOURS/DAY AND NET METERING IS AVAILABLE
| Average Amperes per Phase |  |  | Monthly Energy Needed in kWh
| Hours of Operation |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April - June |  |  |  | Monthly Energy Saved in kWh
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Solar Coverage | Savings
|  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Average Power Consumption Per Day (8.00 AM - 4.00 PM) (Not PEAK Power Consumption Per Day) | Volts |  |  | IF UTILITY GRID IS AVAILABLE 24 HOURS/DAY AND NET METERING IS NOT AVAILABLE
| Average Amperes per Phase |  |  | Monthly Energy Needed in kWh
| Hours of Operation |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average Power Consumption Per Night (4.00 PM - 8.00 AM) (Not PEAK Power Consumption Per Night) | Volts |  |  | Monthly Energy Saved in kWh
| Average Amperes per Phase |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Solar Coverage | Savings
| Hours of Operation |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
IF UTILITY GRID IS NOT AVAILABLE 24 HOURS/DAY
July - September |  |  |  | Monthly Energy Needed in kWh
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly
|  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Average Power Consumption Per Day (8.00 AM - 4.00 PM) (Not PEAK Power Consumption Per Day) | Volts |  |  | Monthly Day Energy Deducted for Generator in kWh
| Average Amperes per Phase |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly |  | Time EDL | Time Generator
| Hours of Operation |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 100% | 0%
Monthly Energy Saved in kWh
Average Power Consumption Per Night (4.00 PM - 8.00 AM) (Not PEAK Power Consumption Per Night) | Volts |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Solar Coverage | Savings
| Average Amperes per Phase |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Hours of Operation
October - December |  |  |  | Monthly Energy Savings
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December | Yearly | Solar Coverage | Savings
|  |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Average Power Consumption Per Day (8.00 AM - 4.00 PM) (Not PEAK Power Consumption Per Day) | Volts
Average Amperes per Phase
Hours of Operation
Average Power Consumption Per Night (4.00 PM - 8.00 AM) (Not PEAK Power Consumption Per Night) | Volts
Average Amperes per Phase
Hours of Operation
Output
Energy Demand
Average Daily Energy Demand (kWh) | 0
Yearly Needed Energy (kWh) | 0
Recommended System
Recommended Solar Array Capacity (kWp) | ENTER GRID AVAILABILITY INFO
Used Solar Panel Capacity (Wp) | 580
Number of Panels to be Used | #VALUE!
Recommended Inverter Capacity (kW) | #VALUE!
Area Of Panels Needed (sqrm) | #VALUE!
Total Area Needed South Pitched Roof (sqrm) | #VALUE!
Total Area Needed Ground Mount or Flat Roof (sqrm) | #VALUE!
Financial Analysis
Initial Investment | #VALUE!
Yearly System Generation Produced by the Solar System (kWh) | #VALUE!
Printable Graph
Yearly System Generation Produced by the Solar System (kWh)
Yearly Energy Savings Really Needed by Customer (kWh) | #VALUE!
Printable Graph
Yearly Energy Savings Really Needed by Customer (kWh)
Yearly Financial Savings | #VALUE!
Energy Demand Covered by Solar | #VALUE!
Simple Payback Period (years) | #VALUE!
Return on Investment (ROI) | #VALUE!
Do you agree to share your contact details with solar vetted companies?
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1
Check Box 1